## Overview
Data Source | Data Group | Data Set | Format | Data Status | Comments
01_STW Data | Asset Data | Pipe Data (Extract) | .csv | 03_Final | new version uploaded to Teams site 19/01/21
01_STW Data | Asset Data | Asset Base | .csv | 03_Final
01_STW Data | Mains Repair | SAP Burst Data | .csv | 03_Final
01_STW Data | Mains Repair | Activity Derived Bursts | .csv | 03_Final
01_STW Data | Network Activity | Activity Operations | .csv | 03_Final
01_STW Data | Network Activity | Activity Operations (Codes) | .xlsx | 03_Final
01_STW Data | Network Activity | Activity Orders | .csv | 03_Final
01_STW Data | Network Activity | Activity Orders (Codes) | .xlsx | 03_Final
01_STW Data | Network Activity | Supply Interruptions | .csv | 03_Final
01_STW Data | Network Activity | Customer Contacts | .csv | 03_Final
01_STW Data | Time Based Data | Logger Pressures
01_STW Data | Time Based Data | Meter/DMA Flows
01_STW Data | Time Based Data | ???
02_Bespoke Data | Hydraulic Models | Pipe Flow | .csv | 03_Final
02_Bespoke Data | Hydraulic Models | Pipe Pressure | .csv | 03_Final
02_Bespoke Data | Network Analysis | Pipe Isolations | .csv | 03_Final
02_Bespoke Data | Network Analysis | Supply Characteristics | .csv | 03_Final
02_Bespoke Data | Network Analysis | Location Classification | .csv | 03_Final
02_Bespoke Data | Network Analysis | Pipe Intersections | .csv | 03_Final
02_Bespoke Data | Network Analysis | Pipe Slope | .csv | 03_Final
03_External Data | HadUK - Grid Climate Observations | Atmospheric Temperature | .NetCDF | 01_Raw
03_External Data | HadUK - Grid Climate Observations | Rainfall | .NetCDF | 01_Raw
03_External Data | HadUK - Grid Climate Observations | Ground Frost | .NetCDF | 01_Raw
03_External Data | HadUK - Grid Climate Observations | Snow Lying | .NetCDF | 01_Raw
03_External Data | HadUK - Grid Climate Observations | NetCDF Pipe Assignment | .csv | 03_Final
03_External Data | MIDAS Weather Stations Data | Atmospheric Temperature | .csv | 01_Raw
03_External Data | MIDAS Weather Stations Data | Ground Temperature | .csv | 01_Raw
03_External Data | MIDAS Weather Stations Data | Rainfall | .csv | 01_Raw
03_External Data | MIDAS Weather Stations Data | Weather Observations | .csv | 01_Raw
03_External Data | Land Cover | NERC Land Cover Map (2015) | .csv | 03_Final
03_External Data | Soil/Geology | BGS Soil Parent Material | .csv | 03_Final

## 01_Pipe Extract
Column | Example | Type | Input Relevance | Description
ID | 7
Tag_text | 1400000000 | Association |  | Pipe 'UID' Reference
PType | D | Variable |  | Pipe type (D = Distribution, T = Transmisson)
Measured_l | 231.667 | Variable | High | Pipe length (m)
Nominal_di | 90 | Variable | High | Pipe diameter
Nominal__1 | mm | Variable | High | Pipe diameter (Units for value in column 'Nominal_di'), all units should be converted to common type prior to analysis
Material | HPPEP | Variable | High | Pipe material
Water_type | PW | N/A |  | Water type (PW = Potable, RW = Raw)
Id_wqz_cod | ZGL08 | Association |  | Water Quality Zone
Id_dma_cod | 7354 | Association |  | District Metered Area
Id_control | CGSV26 | Association |  | Control Group
Id_pla_cod | 7365 | Association |  | Pressure Logged Area
Latest_lin |  | Variable | Medium | Pipe lining information
Factory_li |  | Variable | Medium | Pipe lining information
Previous_l | R | Variable | Medium | Pipe lining information
Installed_ |  | Variable | High | Pipe install date
Fjunctioni | 400000000 | N/A
Tjunctioni | 400000000 | N/A
XC | 392613 | Location |  | X coordinate
YC | 203711.7 | Location |  | Y coordinate
Isolation | 1000002 | Association |  | Unique valve to valve isolation the pipe is assigned to
TrunkMain | N | Variable |  | Trunk main assignment (Y/N)
Eff_Iso |  | N/A

## 01_Asset Base
Column | Example | Type | Input Relevance | Description
ID | 1
Pipe_ID | 1398080549 | Association |  | Pipe 'UID' Reference
Model
Length | 152.1 | Variable | High | Pipe length (m)
Environment | Rural | Variable | Low | STW designated urban or rural environment
SPA | Strategic Grid West | N/A |  | Region information
SAP_LOCA_1 | Worcestershire/Gloucestershire | N/A |  | Region information
WRZ_Name | Strategic Grid | N/A |  | Region information
Maint_Name | West | N/A |  | Region information
Original_Yearlad |  | Variable | Medium | Raw STW pipe install date information
Original_Material | CI | Variable | Medium | Raw STW pipe material information
Original_Diameter | 1 | Variable | Medium | Raw STW pipe diameter information (contains both mm and inch units)
Soil_Type_Des | shallow loam over limestone | Variable | Medium | STW designated soil type information
SoilType_CG | Top Soil | Variable | Medium | STW designated soil type information
SoilType | T | Variable | Medium | STW designated soil type information
DMA |  | Association |  | District Metered Area
DMA_WQZ_Site | Cheltenham North | Association |  | WQZ region
TP_Water_T | PW | N/A |  | Water type (PW = Potable, RW = Raw)
Owner | STW | N/A |  | Asset owner (STW/private/other)
DT_Rehabil | NA | N/A |  | Rehabilitation date
ST_Operational | OP | N/A |  | Operational status of pipe
TP_Latest_T |  | N/A
Pop_Year | B | N/A
Subtype | WMNDST | N/A
YearCheck | Valid | N/A
Pop_Mat | A | N/A
Pop_Diam | C | N/A
Model_Yearlaid | 1905 | Variable | High | Assigned install year (value resulting from gap filling exercise and grouping of simular years into cohorts)
Model_Material | CI | Variable | High | Assigned material (value resulting from gap filling exercise and grouping of simular materials into cohorts)
Model_Diameter | 75 | Variable | High | Assigned diameter (value resulting from gap filling exercise and grouping of simular diameters into cohorts)
LEN_UNDER_U | 51.2286 | N/A
LEN_UNDER_R | 51.2286 | N/A
LEN_UNDER_O | 51.2286 | N/A
MR_Rate | 0.15655 | Variable | N/A | STW assigned mains failure rate (bursts/km/year), calculated using a cohort approach.
Step | 0 | N/A

## 01_SAP Bursts
Column | Example | Type | Input Relevance | Description
FINAL_ASSET | 1401095993 | Association |  | Pipe 'UID' Reference
POSTCODE | NG5 3FE | Location
FWR_SIZE | 3" | Variable | N/A | Documented pipe size from repair (contains both mm and inch units)
FWR_MATERIAL | CAST IRON | Variable | N/A | Documented pipe material from repair
FDB_TECHNIQUE | COLLAR | Variable | N/A | Documented repair technique
WORK_ORDER | 10000001/20 | Association |  | Work order reference assigned to the repair, values preceding the "/" will correspond with the work order references within the Activity Orders, Activity Operations (Inc burst derived version), Customer Contact and Supply Interruption data sets
DMA_NAME | 11536 | Association |  | District Metered Area
OPERATION_STD_TEXTKEY | MRC3 | Variable | N/A | Type of repair (Code descriptions as per 'LeaPS_Activity_Codes' for operations)
FINAL_XCOORD | 457657 | Location |  | X coordinate
FINAL_YCOORD | 343824 | Location |  | Y coordinate
FWR_CREATE_DATE | 20100607 | Date/Time |  | Operation created date (yyyymmdd)
OP_ACTUAL_FINISH_DATE | 20100607 | Date/Time |  | Operation finished date (yyyymmdd)
PIPE_ID | 692712 | Association |  | None relevant unique pipe assignment used within existing NA platform (UID the dominant association value to be used within LeaPS)
LeaPS_Valid | Y - ('Active' Asset) | N/A |  | Burst record validity classification (will influence how certain records are progress within analysis): Y - ('Active' Asset), Y - (Abandonned Asset), N - (Duplicate WO), N - ('Unknown' Asset'), N - (Dryhole)
Valid_Class |  | N/A |  | Validity code used in NA platform, superseded by 'LeaPS_Valid' classification above
Geo_UID | 1401095993 | Association |  | MWH assigned Pipe UID (X/Y geocoded to nearest pipe)
Geo_DMA | 11536 | Association |  | MWH assigned Pipe DMA (X/Y geocoded to nearest pipe)
Geo_CG | CGEM41 | Association |  | MWH assigned Pipe CG (X/Y geocoded to nearest pipe)
Geo_PLA | 2255 | Association |  | MWH assigned Pipe PLA (X/Y geocoded to nearest pipe)
Geo_Isolation | 1195782 | Association |  | MWH assigned Pipe isolation reference (X/Y geocoded to nearest pipe)
Geo_Distance_m | 17.8474 | Association |  | Distance of burst X/Y to closest active pipe asset (used in MWH geocoding process)

## 01_Activity Bursts
Column | Example | Type | Input Relevance | Description
Order_Number | 11069524 | Association |  | Work order reference
Burst_Type | M | Variable | N/A | Burst type specified against activity (Mains/Comm/Ferrule/Service)
Earliest_Start_Date | 20150218 | Date/Time |  | Earliest start date (yyyymmdd)
Act_Start_Date | 20150218 | Date/Time |  | Actual start date (yyyymmdd)
Act_Finish_Date | 20150218 | Date/Time |  | Actual finish date (yyyymmdd)
Postcode | LE11 3PX | Location
DMA |  | Association |  | District Metered Area
Geo_X | 452035 | Location |  | X coordinate
Geo_Y | 317964 | Location |  | Y coordinate
Geo_UID | 1401516092 | Association |  | MWH assigned Pipe UID (X/Y geocoded to nearest pipe)
Geo_DMA | 10311 | Association |  | MWH assigned Pipe DMA (X/Y geocoded to nearest pipe)
Geo_CG | CGEM34 | Association |  | MWH assigned Pipe CG (X/Y geocoded to nearest pipe)
Geo_PLA | 5229 | Association |  | MWH assigned Pipe PLA (X/Y geocoded to nearest pipe)
Geo_Isolation | 1153980 | Association |  | MWH assigned Pipe isolation reference (X/Y geocoded to nearest pipe)
Geo_Distance_m | 1.0823 | N/A |  | Distance of burst X/Y to closest active pipe asset (used in MWH geocoding process)
Order_Count | 2 | N/A |  | Number of Activity Operation bursts records associated with the 'Order_Number'

## 01_Activity Operations
Column | Example | Type | Input Relevance | Description
Order_Number | 70704595 | Association |  | Work order reference assigned to the activity
Operation_Nunmber
Operation_Type | DEEGI | Variable |  | Type of activity (same codes as within 'LeaPS_Activity_Codes' for operations)
Burst_Type |  | Variable |  | Burst type (when relevant) specified against activity (Mains/Comm/Ferrule/Service)
Earliest_Start_Date | 20121205 | Date/Time |  | Earliest start date (yyyymmdd)
Act_Start_Date | 20130312 | Date/Time |  | Actual start date (yyyymmdd)
Act_Finish_Date | 20130312 | Date/Time |  | Actual finish date (yyyymmdd)
Postcode | ST20 0BZ | Location
DMA |  | Association |  | District Metered Area
Geo_X | 383500 | Location |  | X coordinate
Geo_Y | 321500 | Location |  | Y coordinate
Geo_UID | 1200544146 | Association |  | MWH assigned Pipe UID (X/Y geocoded to nearest pipe)
Geo_DMA | 15820 | Association |  | MWH assigned Pipe DMA (X/Y geocoded to nearest pipe)
Geo_CG | CGST03 | Association |  | MWH assigned Pipe CG (X/Y geocoded to nearest pipe)
Geo_PLA | 394 | Association |  | MWH assigned Pipe PLA (X/Y geocoded to nearest pipe)
Geo_Isolation | 1077945 | Association |  | MWH assigned Pipe isolation reference (X/Y geocoded to nearest pipe)
Geo_Distance_m | 42.4338 | N/A |  | Distance of activity X/Y to closest active pipe asset (used in MWH geocoding process)

## 01_Activity Ops (Codes)
Column | Example | Type | Input Relevance | Description
STW_Code | MRC4 | Association |  | Unique code for the type of activity relating to the operation entry
STW_Description | Small Main Repair Collar 4'' | Association |  | Description of the work, will contain the type of operation and if applicable such things as asset size
No | 4242 | N/A |  | Count of number of unique "STW_Code"/"STW_Description" combinations, large count denotes a common combination that has a high likelihood of relevancy, low counts suggests either anomalies or unique, one of a kind jobs.

## 01_Activity Orders
Column | Example | Type | Input Relevance | Description
Order_Number | 12497630 | Association |  | Work order reference assigned to the order
Order_Type | WDCCWS-WSPS | Variable |  | Order Code
Actual_Start_Date | 20200728 | Date/Time |  | Actual start date (yyyymmdd)
Order_Description | WSPS - Poor Supply | Variable |  | Order Description
DMA_Ref | 9308 | Association |  | District Metered Area
Postcode | CV2 1PT | Location
GeoX | 435975 | Location |  | X coordinate
GeoY | 283196 | Location |  | Y coordinate
Geo_UID | 1400832487 | Association |  | MWH assigned Pipe UID (X/Y geocoded to nearest pipe)
Geo_DMA | 9308 | Association |  | MWH assigned Pipe DMA (X/Y geocoded to nearest pipe)
Geo_CG | CGSV09 | Association |  | MWH assigned Pipe CG (X/Y geocoded to nearest pipe)
Geo_PLA | 8413 | Association |  | MWH assigned Pipe PLA (X/Y geocoded to nearest pipe)
Geo_Isolation | 1305645 | Association |  | MWH assigned Pipe isolation reference (X/Y geocoded to nearest pipe)
Geo_Distance_m | 16.0643 | N/A |  | Distance of activity X/Y to closest active pipe asset (used in MWH geocoding process)

## 01_Activity Orders (Codes)
Column | Example | Type | Input Relevance | Description
STW_Code | WDCCWW-WWN3 | Association |  | Unique code for the type of activity relating to the order entry
STW_Description | WWN3 - Water Wasting Trickling | Association |  | Description of the order, will contain the type of order
No | 74225 | N/A |  | Count of number of unique "STW_Code"/"STW_Description" combinations, large count denotes a common combination that has a high likelihood of relevancy, low counts suggests either anomalies or unique, one of a kind orders.

## 01_Supply Interruptions
Column | Example | Type | Input Relevance | Description
ID | 12
Location | Llanfair Caereinion | N/A |  | STW assigned event 'name' (only unique to the financial year the record was created)
Unique_Event_Ref | Llanfair Caereinion [13_14] | Association |  | MWH assigned event 'name' (unique across all financial years)
DMA_Ref | 1487 | Association |  | District Metered Area
Order_Number | 10579664 | Association |  | Work order reference assigned to the Supply Interruption
Notification_Number | 10838419 | N/A
Grid_Ref_X | 310299 | Location |  | X coordinate
Grid_Ref_Y | 306162 | Location |  | Y coordinate
Pipe_Size | 180mm | Variable |  | where relevant, documented pipe size from repair (contains both mm and inch units)
Material | PVC | Variable |  | Where relevant, documented pipe material from repair
Cause_of_Interruption | Burst - Single | Variable |  | Initial cause of the supply interruption (Burst, high demand, booster failure etc)
Classification | Unplanned | Variable |  | Planned, unplanned, third party etc
Start_Date | 20130403 | Date/Time |  | Start date (yyyymmdd)
End_Date | 20130404 | Date/Time |  | End date (yyyymmdd)
Start_Time | 185800000 | Date/Time |  | Start Time (hhmm00000)
End_Time | 5200000 | Date/Time |  | End Time (hhmm00000)
Duration | 0.24583 | Variable |  | Duration of supply interuption (days)
Duration_Category | >3hrs | Variable |  | Duration band (>0hrs, >3hrs, >6hrs etc)
Properties_affected | 17 | Variable |  | Properties impacted by the supply interruption
Successful_Restoration_Method | Repaired | Variable |  | Method used to restore supply to properties
Geo_UID | 1200522695 | Association |  | MWH assigned Pipe UID (X/Y geocoded to nearest pipe)
Geo_DMA | 18487 | Association |  | MWH assigned Pipe DMA (X/Y geocoded to nearest pipe)
Geo_CG | CGOE03 | Association |  | MWH assigned Pipe CG (X/Y geocoded to nearest pipe)
Geo_PLA | 1384 | Association |  | MWH assigned Pipe PLA (X/Y geocoded to nearest pipe)
Geo_Isolation | 1040339 | Association |  | MWH assigned Pipe isolation reference (X/Y geocoded to nearest pipe)
Geo_Distance_m | 2.0238 | N/A |  | Distance of supply interruption X/Y to closest active pipe asset (used in MWH geocoding process)

## 01_Customer Contacts
Column | Example | Type | Input Relevance | Description
Contact_Ref | 13008241 | N/A |  | Unique contact reference
Order_Ref | 12139977 | Association |  | Work order reference assigned to the contact
Contact_Type | No Water/Nil Supply | Variable |  | Type of contact
IMP_Contact_Type | WSNS | Variable |  | Contact code
Contact_Date | 20190408 | Date/Time |  | Contact date (yyyymmdd)
Geo_X | 372905 | Location |  | X coordinate
Geo_Y | 318427 | Location |  | Y coordinate
Area_CG | CGST15 | Association |  | Control Group
Property_No | 831245750 | N/A |  | STW unique property reference associated with contact
Geo_UID | 3000931570 | Association |  | MWH assigned Pipe UID (X/Y geocoded to nearest pipe)
Geo_DMA | 2364 | Association |  | MWH assigned Pipe DMA (X/Y geocoded to nearest pipe)
Geo_CG | CGST15 | Association |  | MWH assigned Pipe CG (X/Y geocoded to nearest pipe)
Geo_PLA | 1614 | Association |  | MWH assigned Pipe PLA (X/Y geocoded to nearest pipe)
Geo_Isolation | 1079987 | Association |  | MWH assigned Pipe isolation reference (X/Y geocoded to nearest pipe)
Geo_Distance_m | 17.3803 | N/A |  | Distance of contact X/Y to closest active pipe asset (used in MWH geocoding process)

## 02_Pipe Flows
Column | Example | Type | Input Relevance | Description
Tag_text | 1398010890 | Association |  | Pipe 'UID' Reference
Isolation | 1000002 | Association |  | Unique valve to valve isolation the pipe is assigned to
Flow_Min | 0.013127 | Variable | Medium | Minimum modelled flow (l/s) associated with pipe asset (derived from 24 hour run of the hydraulic model)
Flow_Min_Time | 3.75 | Variable |  | Time of modelled minimum flow (e.g 04:00)
Flow_Max | 0.069907 | Variable | Medium | Maximum modelled flow (l/s) associated with pipe asset (derived from 24 hour run of the hydraulic model)
Flow_Max_Time | 9.5 | Variable |  | Time of modelled maximum flow (e.g 07:30)
Headloss_Max | 0.003436 | Variable |  | Maximum modelled headloss (m/km) across 24 hour hydraulic model run
Headloss_Max_Time | 9.5 | Variable |  | Time of modelled maximum headloss (e.g 07:30)

## 02_Pipe Pressures
Column | Example | Type | Input Relevance | Description
Tag_text | 1398010890 | Association |  | Pipe 'UID' Reference
Isolation | 1000002 | Association |  | Unique valve to valve isolation the pipe is assigned to
Pres_Min | 69.1781 | Variable | High | Minimum modelled pressure (m) associated with pipe asset (derived from 24 hour run of the hydraulic model)
Pres_Min_Time | 9.5 | Variable |  | Time of modelled minimum pressure (e.g 07:30)
Pres_Avg | 78.6798 | Variable | High | Average modelled pressure associated with pipe asset (derived from 24 hour run of hydraulic model)
Pres_Max | 82.5593 | Variable | High | Maximum modelled pressure (m) associated with pipe asset (derived from 24 hour run of the hydraulic model)
Pres_Max_Time | 3.75 | Variable |  | Time of modelled maximum pressure (e.g 04:00)

## 02_Pipe Isolations
Column | Example | Type | Input Relevance | Description
Isolation | 1000002 | Association |  | Unique valve to valve isolation the pipe is assigned to
Isolation_No | 1000002 | Association |  | Unique valve to valve isolation the pipe is assigned to
Pipe_No | 5 | Variable |  | Number of individual pipe assets associated with valve to valve isolation
Tot_Len | 783.19 | Variable |  | Total length (m) of isolation
Valve_No | 2 | Variable |  | Total number of valves associated with isolation
Closed_Valve_No | 0 | Variable |  | Total number of closed valves associated with isolation
CG | CGSV26 | Association |  | Control Group
DMA | 7354 | Association |  | District Metered Area
WQZ | ZGL08 | Association |  | Water Quality Zone
CWDP_No | 28 | Variable | Low | Number of customer connections associated with isolation
Circumference | 762.259 | Variable |  | Circumference (m) of all valves associated with isolation (indicates the extent/time it would take to 'travel' across the full sequence of valves, i.e. to close them)
Volume_m3 | 3.26 | Variable |  | Total pipe volume of isolation (m3)

## 02_Supply Characteristics
Column | Example | Type | Input Relevance | Description
Tag_text | 1398010890 | Association |  | Pipe 'UID' Reference
PType | D | Variable |  | Pipe type (D = Distribution, T = Transmisson)
Measured_l | 231.667 | Variable | High | Pipe length (m)
Id_dma_cod | 7354 | Association |  | District Metered Area
Id_control | CGSV26 | Association |  | Control Group
Id_pla_cod | 7365 | Association |  | Pressure Logged Area
Isolation | 1000002 | Association |  | Unique valve to valve isolation the pipe is assigned to
TrunkMain | N | Variable |  | Trunk main assignment (Y/N)
PLA_Classification | Regulated (MWHm) | Variable | High | Type of PLA (Regulated/PRV'd, Boosted, Gravity etc)
Direct_DSRs | 1 | Variable | Medium | Number of reservoirs directly associated as supplying pipe asset ('direct' in the context that no other reservoirs exist in the connecting mains between the associated reservoir(s) and pipe)
Direct_Boosters | 0 | Variable | High | Number of boosters directly associated as supplying pipe asset ('direct' in the context that no other boosters or reservoirs exist in the connecting mains between the associated booster(s) and pipe)
Direct_Sources_No | 0 | Variable |  | Number of sources directly associated as supplying pipe asset ('direct' in the context that no reservoirs exist in the connecting mains between the associated source(s) and pipe)
Direct_Source_Types | None | Variable | Medium | Type(s) of sources that directly supply the pipe (surface water and/or ground water)
Direct_SW_MinDist | 0 | Variable | Medium | Pipes minimum point to point distance (m) to closest direct surface water source.
Direct_SG_MinDist | 0 | Variable | Medium | Pipes minimum point to point distance (m) to closest direct strategic grid off take source.
Direct_GW_MinDist | 0 | Variable | Medium | Pipes minimum point to point distance (m) to closest direct ground water source.
Indirect_Source_No | 1 | Variable |  | Number of sources indirectly associated as supplying pipe asset ('indirect' in the context that reservoirs can be situated on the connecting mains between the associated source(s) and pipe)
Indirect_Source_Types | SW Only | Variable |  | Type(s) of sources that indirectly supply the pipe (surface water and/or ground water)
Source_Summary | Direct: None / Indirect: SW Only | Variable |  | Summary 'description' relating to direct and indirect pipe sources

## 02_Location Classification
Column | Example | Type | Input Relevance | Description
PipeID | 7 | N/A
Tag | 1398010890 | Association |  | Pipe 'UID' Reference
DMA | 7354 | Association |  | District Metered Area
CG | CGSV26 | Association |  | Control Group
Region | Worcs & Gloucs | Association |  | STW Region
Length | 231.667 | Variable |  | Pipe length (m)
Valve_No | 2 | Variable |  | Total number of valves associated with isolation
Circumference | 762.259 | Variable |  | Circumference (m) of all valves associated with isolation the pipe is a component of (indicates the extent/time it would take to 'travel' across the full sequence of valves, i.e. to close them)
Draindown | 3.2693 | Variable |  | Total volume (m3) of the isolation the pipe is a component of
Area_Type | Rural | Variable | Low | MWH assigned rural/urban/grassland designation
Water_Crossing |  | Variable | Medium | Pipe intersects the specified geographical feature(s)
Rail_Crossing |  | Variable | Medium | Pipe intersects the specified geographical feature(s)
Rail_Boundary |  | Variable | Medium | Pipe intersects the specified geographical feature(s)
Rail_Slope |  | Variable | Medium | Pipe intersects the specified geographical feature(s)
Rail_Bridge |  | Variable | Medium | Pipe intersects the specified geographical feature(s)
Road_Crossing | Y | Variable | Medium | Pipe intersects the specified geographical feature(s)
Roadside_Crossing |  | Variable | Medium | Pipe intersects the specified geographical feature(s)
Motorway_Crossing |  | Variable | Medium | Pipe intersects the specified geographical feature(s)
Slope_Road |  | Variable | Medium | Pipe intersects the specified geographical feature(s)
Road_Bridge |  | Variable | Medium | Pipe intersects the specified geographical feature(s)
Road_Junc | Y | Variable | Medium | Pipe within 25m buffer of the specified geographical feature(s)
Road_Sensitive | N | Variable | Medium | Pipe within 10m buffer of the specified geographical feature(s)
Pylon_Prox | N | Variable | Medium | Pipe within 10m buffer of the specified geographical feature(s)
Structure_Prox | N | Variable | Medium | Pipe intersects the specified geographical feature(s)
Structure_Crossing |  | Variable | Medium | Pipe intersects the specified geographical feature(s) - duplication with "Structure_Prox" column
Slope_Crossing |  | Variable | Medium | Pipe intersects the specified geographical feature(s)
Spec_Engineering | N | Variable | Medium | Pipe within 10m buffer of the specified geographical feature(s)
Tree_Prox | N | Variable | Medium | Pipe within 5m buffer of the specified geographical feature(s)
Natural_Land |  | Variable | Medium | Pipe intersects the specified geographical feature(s)
Private_Land |  | Variable | Medium | Pipe intersects the specified geographical feature(s)
Made_Land |  | Variable | Medium | Pipe intersects the specified geographical feature(s)
Natural_Environment |  | Variable | Medium | Pipe intersects the specified geographical feature(s)
Marsh |  | Variable | Medium | Pipe intersects the specified geographical feature(s)
SAC | N | Variable | Low | Pipe intersects the specified geographical feature(s)
SPA | N | Variable | Low | Pipe intersects the specified geographical feature(s)
SSSI | N | Variable | Low | Pipe intersects the specified geographical feature(s)
os_id |  | Association

## 02_Pipe Intersections
Column | Example | Type | Input Relevance | Description
tag_text | 1200506127 | Association |  | Pipe 'UID' Reference
Length_m | 6.646 | Variable |  | Pipe length (m)
os_id | SH60 | Association |  | OS Grid tile used for Geospatial analysis of pipe asset
THEME | Roads Tracks And Paths | Variable |  | Geographical feature group
DESCRIPT1 | Road Or Track | Variable |  | Geographical feature description element 1
DESCRIPT0 |  | Variable |  | Geographical feature description element 2
MAKE | Manmade | Variable | Medium | Manmade or natural surface
Location_Criteria | Road Intersection | Variable | Medium | MWH assigned location classification (derived from "THEME", "DESCRIPT1", "DESCRIPT0" and "MAKE" columns)

## 02_Slope
Column | Example | Type | Input Relevance | Description
ID | 7 | N/A
Tag_text | 1398010890 | Association |  | Pipe 'UID' Reference
Measured_l | 231.667 | Variable |  | Pipe length (m)
Isolation | 1000002 | Association |  | Unique valve to valve isolation the pipe is assigned to
Mod_S_Node | 39257536_20360365 | N/A |  | Start node' of pipe feature in hydraulic model
Mod_S_Elevation | 171.976 | Variable | Medium | model elevation of start node
Mod_E_Node | 39264491_20381396 | N/A |  | End node' of pipe feature in hydraulic model
Mod_E_Elevation | 173.586 | Variable | Medium | model elevation of end node
Mod_Slope_m | 1.61 | Variable |  | pipe elevation drop (maximum difference between start node and end node elevations)
Mod_Slope% | 0.69497 | Variable | Medium | Pipe slope as percentage (100/'Measured_l' x 'Mod_Slope_m')
DEM_Min_Elevation | 172.254 | Variable | Medium | Minimum pipe elevation derived from digital elevation model
DEM_Max_Elevation | 173.7 | Variable | Medium | Maximum pipe elevation derived from digital elevation model
DEM_Slope_m | 1.4464 | Variable |  | pipe elevation drop ('DEM_Max_Elevation' - 'DEM_Min_Elevation')
DEM_Slope% | 0.62435 | Variable | Medium | Pipe slope as percentage (100/'Measured_l' x 'DEM_Slope_m')

## 03_Land Cover
Column | Example | Type | Input Relevance | Description
Tag_text | 1398080549 | Association |  | Pipe 'UID' Reference
Band1 | 21 | Variable |  | Pipe 'Broad habitat' assigned classification band
Band1_Classification | Suburban | Variable | Medium | Pipe 'Broad habitat' assigned classification description
Band2 | 152 | Variable | Medium | RGB classification band

## 03_Soil Parent Material
Column | Example | Type | Input Relevance | Description
Tag_text | 1398058323 | Association |  | Pipe 'UID' Reference
Fid | 155651 | N/A |  | Grid reference
Esb_desc | LIMESTONE | Variable | Medium | European Soil Bureau definition of Parent Material Type
Carb_cntnt | HIGH | Variable |  | Carbonate Content
Pmm_grain | ARGILLIC - ARENACEOUS | Variable | Medium | Parent material grain size
Soil_group | MEDIUM TO LIGHT(SILTY) TO HEAVY | Variable | Medium | Soil group
Soil_tex | CLAYEY LOAM TO SILTY LOAM | Variable | Medium | Soil texture
Soil_depth | SHALLOW | Variable | Medium | Soil layer thickness
Pmm1k_uid | bgsn:SPMv1_1k_155651 | N/A |  | Grid reference
Version | DPSPM_V1_1km | N/A |  | Dataset version

## 03_NetCDF_Pipe_Assignment
Column | Example | Type | Description
Tag_text | 1200114586 | Association | Pipe 'UID' Reference
Isolation | 1261277 | Association | Unique valve to valve isolation the pipe is assigned to
Grid_ID | 881105 | Location | Pipe assignment to NetCDF unique grid ID
Grid_X | 608 | Location | Pipe assignment to NetCDF grid structure (0 to 900)
Grid_Y | 496 | Location | Pipe assignment to NetCDF grid structure (0 to 1450)
Coord_Left | 407000 | Location | Maximum extent of 1km grid pipe is assigned to (EPSG: 27700)
Coord_Top | 296000 | Location | Maximum extent of 1km grid pipe is assigned to (EPSG: 27700)
Coord_Right | 408000 | Location | Maximum extent of 1km grid pipe is assigned to (EPSG: 27700)
Coord_Bottom | 295000 | Location | Maximum extent of 1km grid pipe is assigned to (EPSG: 27700)

## 03_Atm_Temperature
Column | Example | Type | Description
ob_end_time | 2010-01-01 09:00 | Date/Time | Date and time (YYYY-MM-DD HH:MM:SS) at the end of the observation period, Use ob_end_time in conjunction with ob_hour_count to determine the period over which the observation relates. Common periods include 12 hour observations ending at 0900 or 2100 or 24 hour observations ending at 0900.
id_type | DCNN |  | identifier type
id | 4112 |  | station identifier
ob_hour_count | 24 |  | number of hours the observation period spans
version_num | 1 |  | midas qc version number - (The midas_qc_version_number indicates if the data are original received message (0) or current best version (1))
met_domain_name | DLY3208 |  | message type (see MIDAS documentation)
src_id | 539 |  | unique source identifier or station site number
rec_st_ind | 1011
max_air_temp | 1.4 | Variable | Maximum air temperature recorded during the observation period (degC)
min_air_temp | -3.8 | Variable | Minimum air temperature recorded during the observation period (degC)
min_grss_temp | -7.4 | Variable | Minimum grass temperature recorded during the observation period (degC)
min_conc_temp | NA
max_air_temp_q | 6 |  | Maximum air temperature qc code (see MIDAS documentation)
min_air_temp_q | 6 |  | Minimum air temperature qc code (see MIDAS documentation)
min_grss_temp_q | 6 |  | Minimum grass air temperature qc code (see MIDAS documentation)
min_conc_temp_q | NA
max_air_temp_j | NA
min_air_temp_j | NA
min_grss_temp_j | NA
min_conc_temp_j | NA
meto_stmp_time | 2010-07-01 10:09 |  | Met Office receipt stamp time as YYYY-MM-DD HH:MM:SS
midas_stmp_etime | 0 |  | Elapsed time to storage in MIDAS (Minutes)

## 03_Ground_Temperature
Column | Example | Type | Description
ob_time | 2010-01-01 09:00 | Date/Time | Date and time (YYYY-MM-DD HH:MM:SS) of observation
id_type | DCNN |  | identifier type
id | 4112 |  | station identifier
met_domain_name | DLY3208 |  | message type (see MIDAS documentation)
version_num | 1 |  | midas qc version number - (The midas_qc_version_number indicates if the data are original received message (0) or current best version (1))
src_id | 539 |  | unique source identifier or station site number
rec_st_ind | 1011 |  | state indicator for the current stage in the life of the record (see MIDAS documentation)
q5cm_soil_temp | NA | Variable | 5cm soil temperature
q5cm_soil_temp_q | NA |  | QC code: 5cm soil temperature
q5cm_soil_temp_j | NA
q10cm_soil_temp | 0.7 | Variable | 10cm soil temperature
q10cm_soil_temp_q | 6 |  | QC code: 10cm soil temperature
q10cm_soil_temp_j | NA
q20cm_soil_temp | NA | Variable | 20cm soil temperature
q20cm_soil_temp_q | NA |  | QC code: 20cm soil temperature
q20cm_soil_temp_j | NA
q30cm_soil_temp | 2.5 | Variable | 30cm soil temperature
q30cm_soil_temp_q | 6 |  | QC code: 30cm soil temperature
q30cm_soil_temp_j | NA
q50cm_soil_temp | NA | Variable | 50cm soil temperature
q50cm_soil_temp_q | NA |  | QC code: 50cm soil temperature
q50cm_soil_temp_j | NA
q100cm_soil_temp | 4.7 | Variable | 100cm soil temperature
q100cm_soil_temp_q | 6 |  | QC code: 100cm soil temperature
q100cm_soil_temp_j | NA
meto_stmp_time | 2010-07-01 10:09 |  | Met Office receipt stamp time as YYYY-MM-DD HH:MM:SS
midas_stmp_etime | 0 |  | Elapsed time to storage in MIDAS (Minutes)

## 03_Rainfall
Column | Example | Type | Description
ob_date | 2010-01-01 | Date/Time | Date and time (YYYY-MM-DD HH:MM:SS) of the observation
id | 107494 |  | station identifier
id_type | RAIN |  | identifier type
version_num | 1 |  | midas qc version number - (The midas_qc_version_number indicates if the data are original received message (0) or current best version (1))
met_domain_name | DLY3208 |  | message type (see MIDAS documentation)
ob_end_ctime | 900 |  | clock time at end of observation as HHMM
ob_day_cnt | 1 |  | Observation day count
src_id | 539 |  | unique source identifier or station site number
rec_st_ind | 1011 |  | state indicator for the current stage in the life of the record (see MIDAS documentation)
prcp_amt | 0 | Variable | Precipitation amount (mm)
ob_day_cnt_q | 0 |  | QC code: observation day count
prcp_amt_q | 6 |  | QC code: precipitation amount
prcp_amt_j | NA |  | Descriptor: precipitation amount
meto_stmp_time | 2010-07-01 10:09 |  | Met Office receipt stampe time in format (YYYY-MM-DD HH:MM:SS)
midas_stmp_etime | 0 |  | Elapsed time to storage in MIDAS (Minutes)

## 03_Weather_Obs
Column | Example | Type | Description
ob_time | 2010-01-01 09:00 | Date/Time | Date and time (YYYY-MM-DD HH:MM:SS) of the observation
id | 4112 |  | station identifier
id_type | DCNN |  | identifier type
met_domain_name | DLY3208 |  | message type (see MIDAS documentation)
version_num | 1 |  | midas qc version number - (The midas_qc_version_number indicates if the data are original received message (0) or current best version (1))
src_id | 539 |  | unique source identifier or station site number
rec_st_ind | 1011 |  | state indicator for the current stage in the life of the record (see MIDAS documentation)
wind_speed_unit_id | NA |  | Code to describe the origin of the wind speed units
src_opr_type | NA |  | source operation type code
wind_direction | 0 |  | wind direction in true degrees
wind_speed | 0 |  | wind speed (knots)
prst_wx_id | 2 |  | present weather code (see documentation)
past_wx_id_1 | NA |  | past weather code #1 (see documentation)
past_wx_id_2 | NA |  | past weather code #2 (see documentation)
cld_ttl_amt_id | 0 |  | Total cloud amount code (Oktas)
low_cld_type_id | NA |  | low cloud type code (see documentation)
med_cld_type_id | NA |  | medium cloud type code (see documentation)
hi_cld_type_id | NA |  | high cloud type code (see documentation)
cld_base_amt_id | NA |  | cloud base amount code (see documentation)
cld_base_ht | NA |  | cloud base height code (decametres)
visibility | 1000 |  | visibility (decametres)
msl_pressure | NA |  | mean sea level air pressure (hPa)
cld_amt_id_1 | NA |  | layer cloud amount code #1
cloud_type_id_1 | NA |  | cloud type code #1
cld_base_ht_id_1 | NA |  | cloud base height code #1 (decametres)
cld_amt_id_2 | NA |  | layer cloud amount code #2
cloud_type_id_2 | NA |  | cloud type code #2
cld_base_ht_id_2 | NA |  | cloud base height code #2 (decametres)
cld_amt_id_3 | NA |  | layer cloud amount code #3
cloud_type_id_3 | NA |  | cloud type code #3
cld_base_ht_id_3 | NA |  | cloud base height code #3 (decametres)
cld_amt_id_4 | NA |  | layer cloud amount code #4
cloud_type_id_4 | NA |  | cloud type code #4
cld_base_ht_id_4 | NA |  | cloud base height code #4 (decametres)
vert_vsby | NA |  | vertical visibility (decametres)
air_temperature | -3.5 | Variable | Air temperature (degC)
dewpoint | -7.1 | Variable | Dewpoint temperature (degC)
wetb_temp | -4.4 | Variable | Wetbulb temperature (degC)
rltv_hum | 75.8 | Variable | Calculated relative humidity (%)
stn_pres | NA | Variable | Station air pressure (hPa)
alt_pres | NA | Variable | Altimeter pressure (hPa)
ground_state_id | 12 |  | Ground state code (see documentation)
q10mnt_mxgst_spd | NA |  | 10 minute maximum gust speed (knots)
cavok_flag | NA |  | cavok flag
cs_hr_sun_dur | NA |  | Campbell-stokes hour sunshine duration (hours)
wmo_hr_sun_dur | NA |  | WMO hour sunshine duration (hours)
snow_depth | NA |  | Snow depth (cm)
wind_direction_q | 6 |  | QC code - wind direction
wind_speed_q | 6 |  | QC code - wind speed
prst_wx_id_q | 6 |  | QC code - present weather
past_wx_id_1_q | NA |  | QC code - past weather code #1
past_wx_id_2_q | NA |  | QC code - past weather code #2
cld_ttl_amt_id_q | 6 |  | QC code - cloud total amount
low_cld_type_id_q | NA |  | QC code - low cloud type code
med_cld_type_id_q | NA |  | QC code - medium cloud type code
hi_cld_type_id_q | NA |  | QC code - high cloud type code
cld_base_amt_id_q | NA |  | QC code - cloud base amount
cld_base_ht_q | NA |  | QC code - cloud base height
visibility_q | 6 |  | QC code - visibility
msl_pressure_q | NA |  | QC code - msl pressure
air_temperature_q | 6 |  | QC code - air temperature
dewpoint_q | 6 |  | QC code - dewpoint temperature
wetb_temp_q | 6 |  | QC code - wetbulb temperature
ground_state_id_q | 6 |  | QC code - ground state code
cld_amt_id_1_q | NA |  | QC code - layer cloud amount #1
cloud_type_id_1_q | NA |  | QC code - cloud type code #1
cld_base_ht_id_1_q | NA |  | QC code - cloud base height code #1
cld_amt_id_2_q | NA |  | QC code - layer cloud amount #2
cloud_type_id_2_q | NA |  | QC code - cloud type code #2
cld_base_ht_id_2_q | NA |  | QC code - cloud base height code #2
cld_amt_id_3_q | NA |  | QC code - layer cloud amount #3
cloud_type_id_3_q | NA |  | QC code - cloud type code #3
cld_base_ht_id_3_q | NA |  | QC code - cloud base height code #3
cld_amt_id_4_q | NA |  | QC code - layer cloud amount #4
cloud_type_id_4_q | NA |  | QC code - cloud type code #4
cld_base_ht_id_4_q | NA |  | QC code - cloud base height code #4
vert_vsby_q | NA |  | QC code - vertical visibility
stn_pres_q | NA |  | QC code - station pressure
alt_pres_q | NA |  | QC code - altimiter pressure
q10mnt_mxgst_spd_q | NA |  | QC code - 10 min maximum gust speed
cs_hr_sun_dur_q | NA |  | QC code - campbell-stokes hour sunshine
wmo_hr_sun_dur_q | NA |  | QC code - wmo hour sunshine
snow_depth_q | NA |  | QC code - snow depth
wind_direction_j | NA |  | Descriptor - wind direction
wind_speed_j | NA |  | Descriptor - wind speed
prst_wx_id_j | NA |  | Descriptor - present weather code
past_wx_id_1_j | NA |  | Descriptor - past weather code #1
past_wx_id_2_j | NA |  | Descriptor - past weather code #2
cld_amt_id_j | NA |  | Descriptor - cloud amount id
cld_ht_j | NA |  | Descriptor - cloud base height
visibility_j | NA |  | Descriptor - visibility
msl_pressure_j | NA |  | Descriptor - msl pressure
air_temperature_j | NA |  | Descriptor - air temperature
dewpoint_j | NA |  | Descriptor - dewpoint temperature
wetb_temp_j | K |  | Descriptor - wetbulb temperature
rltv_hum_j | A |  | descriptor - relative humidity
vert_vsby_j | NA |  | Descriptor - vertical visibility
stn_pres_j | NA |  | Descriptor - station pressure
alt_pres_j | NA |  | Descriptor - altimiter pressure
q10mnt_mxgst_spd_j | NA |  | Descriptor - 10 min maximum gust speed
meto_stmp_time | 2010-07-01 10:09 |  | Met Office receipt stampe time in format (YYYY-MM-DD HH:MM:SS)
midas_stmp_etime | 0 |  | Elapsed time to storage in MIDAS (Minutes)
drv_hr_sun_dur | NA |  | derived hour sunshine (hours)
drv_hr_sun_dur_q | NA |  | QC code - derived hour sunshine (hours)